ADJ American DJ Penta Pix 5x15-Watt RGBW LED

Specifications:

| - Light source | - 5 x 15W 4-in-1 RGBW quad LEDs |
| --- | --- |
| - Operational modes | - sound active - auto run - RGBW dimmer mode - color macro mode - DMX control - (63) preset color macros |
| - DMX channel modes | - 4, 6, or 22-channels - 3-pin DMX in/out connections - Strobe speed (controlled via DMX) - 0-100% electronic dimming (Controlled via DMX) |
| - Power consumption | 77W maximum |
| - AC connection | - PowerCON in/out - daisy chain power |
| - Multi-voltage operation | - AC 100-240V 50/60Hz - Dimensions 21” x 11” x 10.25” / 530 mm x 280 mm x 260mm (LxWxH) |
| - Weight | 12 lbs. / 5.4 kg. |
| - Features | - New ACL (Advanced Collimator optic Lens) for razor sharp 6° beams - 5-zone pixel control - 15 exciting built-in light shows with sound active control - Runs extremely cool! - no duty cycles! – run all night! - (5) selectable dimmer curves - Includes scissor yoke + safety hook on rear panel - 4-button DMX LED display |

American DJ ON-X LED Sweeper

Specifications:

| LED Source | 8 x 3 W R/G/B/W LEDs (2 x red, 2 x green, 2 x blue, 2 x white) |
| --- | --- |
| LED Life Expectancy | Approximately 50,000 hours |
| Photometrics | 5570 lux at 6.5' / 2 m 1200 lux at 13.1' / 4 m |
| Beam Angle | 4° |
| Tilt | 270° 2 x stepper motors |
| Dimming | Electronic: 0-100% Curves: Standard, Stage, TV, Architectural, Theater |
| Operation Modes | Show, Sound-Active, DMX Controlled |
| Built-In Programs | LED pulse, strobe effect |
| DMX Channel Modes | 2, 9, 11, 12, 16, 18 |
| DMX 512 Protocol | Input: 3-pin XLR Output: 3-pin XLR |
| Display/Controls | 4-button DMX LED display |
| Wireless Control | ADJ UC IR remote (available separately) |
| Input Voltage | 100-240 VAC, 50/60 Hz, auto-sensing |
| Power Connectors | Input: IEC Output: IEC |
| Power Linking | 120 V: Maximum 15 fixtures 230 V: Maximum 28 fixtures |
| Power Consumption (Maximum) | 46 W |
| Fuse | 2 A |
| Mounting | Bracket |
| Dimensions (LxWxH) | Without Bracket: 11.25 x 6 x 4.25" / 283 x 151 x 110 mm With Bracket: 11.25 x 6 x 5.75" / 283 x 151 x 147 mm |
| Weight | 5.5 lb / 2.5 kg |

American DJ XS 600 Moving Head Fixture

Specifications:

| LEDs | 6×10 W (4-in-1) RGBW LEDs (red, green, blue, white) |
| --- | --- |
| LED Life Expectancy | 50,000 hour rating |
| Color Mixing | RGBW |
| Photometrics | 6.65' (2 m): 5331 lux 13.12' (4 m): 1242 lux |
| Beam Angle | 5° |
| Operational Modes | 3 x Modes: DMX, show mode, and sound active |
| Built-in Shows | 9 x shows |
| Duty Cycle | None |
| DMX Channel Modes | 2 x Modes: 25 and 31 channels |
| DMX Connectors | 1 x XLR 3-pin input 1 x XLR 3-pin output |
| Display/Controls | 4-button menu system with LED display |
| Wireless Control | UC IR Remote (available separately) Airstream IR App (free download, requires additional hardware) |
| Power Input Requirement | 100 to 240 VAC, 50 / 60 Hz |
| Power Connectors | 1 x IEC input 1 x IEC output |
| Power Linking | Up to 8 fixtures |
| Power Consumption | 60 W |
| Power Cable Length | 4 ft (1.2 m) |
| Fuse | 1 A |
| Working Position | Any safe, secure position |
| Dimensions (L x W x H) | 7.75×5.0 x 12.5" (19.6×12.6 x 31.8 cm) |
| Weight | 7.0 lb (3.0 kg) |

american-dj-inno-pocket-spot-twins-dual-moving-heads

Specifications:

|  | High output dual mini Moving Heads, each with a bright white 12W LED source |
| --- | --- |
|  | 7 Colors + white |
|  | 7 fixed gobos + spot |
|  | Separate color & gobo wheels |
| 3 Operational modes | DMX Control Sound Active Mode & Show Mode |
| 2 DMX channel modes | 19 & 23 Channel modes |
| 4 Built-in shows |  |
| Gobo Shake effect |  |
| Gobo scroll mode |  |
| Beam Angle | 13-degrees |
|  | 540° pan / 230° tilt (16-bit) |
| Pan /Tilt Inversion mode |  |
| 5 selectable Dim Curves | Standard Stage TV Architectural Theatre |
| Shutter | Pulse effect random strobe slow to fast |
| Dimming | 0% - 100% |
|  | Fan Cooled |
|  | Hole for pole mounting |
|  | 2 Omega bracket included to hang from truss |
| Linkable | DMX via 3-pin XLR cable |
| Optional IR wireless remote control | Full On Stand by Strobe Color Change Dimming Sound Active On/Off |
|  | Compatible with the ADJ Airstream IR App |
| PWM Pulse Width Modulation | 4K |
| Strobe Rate | 0.3-19HZ |
| DB Rating @ 1Meter | Front: 45 Back: 43 Left: 42 Right: 43 Top: 45 |
| Power consumption | 85W |
| Power Cable Length | 1.5M (IEC) |
| Light output | 4823 LUX @ 2M 1240 LUX @ 4M (13-degree beam) |
| Multi-voltage Operation | AC 100 – 240V 50/60Hz |
| LED Source | 12W White LED source (Rated at approximately 50,000 hrs) |
| Dimensions (LxWxH) | 19.25” x 6” x 13” 487×153×327mm |

# Blizzard Lighting Stimul-Eye Multi-Beam Effect Moving Head Fixture with 7x 10W White LED

Specifications:

| Control | Protocol: USITT DMX-512 DMX Channels: 19/12-channels Input: 3-pin XLR Male Output: 3-pin XLR Female Other Operating Modes: Standalone, Master/Slave, Sound Active Mode |
| --- | --- |
| Light Source | 7x 10w White CREE LEDs |
| Beam Angle | 5 - 40 deg. |
| Luminous Intensity | 36890lux at 1m 16000lux at 2m 10014lux at 3m 4610lux at 4m 2808lux at 5m |
| Movement Range | Pan: 540 deg. Tilt: 250 deg. |
| Power | Operating Voltage: 90-240VAC 50/60Hz Power Consumption: 52W, 0.7A, PF: 0.59 Fuse: 5A |
| Max. Operating Temperature | 40 deg. C / 104 deg. F (ambient) |
| Dimensions (W x D x H) | 8.75 x 6.6 x 12.4" / 22.23 x 16.76 x 31.50cm |
| Weight | 9.3lbs / 4.22kg |

Chauvet Rogue R1 FX-B Moving Head System

Specifications:

| Light Source | 5 x RGBW LEDs, 15 W (4 A) |
| --- | --- |
| Life Expectancy | 50,000 hours |
| Illuminance | 5361 lux @ 16.4' / 5 m |
| Beam Angle | 7° |
| Field Angle | 11° |
| Pan Range | Infinite / 540° / 360 ° / 180° |
| Tilt Range | Infinite / 540° / 270° / 180° |
| Dimmer | Electronic |
| Dimmer Curves | 4 |
| Shutter/Strobe | Electronic |
| Strobe Rate | 0 - 20 Hz |
| Color Mixing | RGBW, RGBW (16-bit) |
| Color Temperature | 2800 to 6500K |
| Protocols | DMX, Art-Net, sACN, Kling-Net* *No pan/tilt support in Kling-Net |
| DMX Connectors | Input: XLR 3-pin, XLR 5-pin, etherCON Output: XLR 3-pin, XLR 5-pin, etherCON |
| DMX Channel Modes | 9, 15, 17, 18, 20, 23, 25, or 47 channels |
| Input Voltage | 100 to 240 VAC, 50/60 Hz (auto-ranging) |
| Power Connectors | Input: powerCON Output: powerCON |
| Power Linking | 120 V: 9 units 208 V: 15 units 230 V: 18 units |
| Power Cable | Edison to powerCON |
| Power Cable Length | 5' / 1.5 m |
| Power Consumption | 207 W, 1.68 A @ 120 V, 60 Hz 200 W, 0.938 A @ 208 V, 60 Hz 197 W, 0.876 A @ 230 V, 50 Hz |
| Housing Material | High-impact flame-retardant polymer |
| IP Rating | IP20 |
| Working Position | Vertical or inverted |
| Cooling | Fan-cooled |
| Certifications & Approvals | CE, MET |
| Dimensions | 25.19×7.05 x 9.72" (640×179 x 247 mm) |
| Weight | 24 lb (11 kg) |

chauvet-dj-beamer-6-fx-3-in-1-led-rgb-w-beam-laser-strobe-effect

Specifications:

| - DMX Channels | 2 or 15 |
| --- | --- |
| - DMX Connectors | 3-pin XLR |
| - Light Source(Beam) | 6 LEDs (RGBW) 5 W, (2 A), 50,000 hours life expectancy |
| - Strobe | 24 LEDs (White) 0.3 W, (0.1 A), 50,000 hours life expectancy |
| Lasers | 650 nm/100 mW (Red) laser diode, 532 nm/30 mW (Green) laser diode |
| - Strobe Rate(Beam) | 1 to 20 Hz |
| - Strobe | 1 to 20 Hz |
| - Beam Angle | 3° |
| - Power Linking | 12 units @ 120 V; 22 units @ 230 V |
| - Input Voltage | 100 to 240 VAC, 50/60 Hz (auto-ranging) |
| - Power and Current | 41 W, 0.6 A @ 120 V, 60 Hz 40 W, 0.3 A @ 230 V, 50 Hz |
| - Weight | 6.2 lb (2.9 kg) |
| - Size | 15.3×15.3×11.2 in (390×390×285 mm) |
| - Approvals | CE, FDA |
| - Optional Controllers | IRC-6 |

CHAUVET DJ Helicopter Q6 - Rotating Multi-Effects Light with Laser (RGBW)

Specifications:

| DMX | DMX Channels: 3 or 16 DMX Connectors: 3-pin XLR |
| --- | --- |
| Pan & Tilt Range | 360° |
| Light Source | Beam: 6 (RGBW) 6.9 W, (2 A), 50,000 hours life expectancy Strobe: 24 LEDs (white) 1 W, (281 mA), 50,000 hours life expectancy Laser: 650 nm / 100 mW (red) laser diode, 532 nm / 30 mW (green) laser diode |
| Strobe Rate | Beam/Strobe: 0 to 20 Hz |
| Beam Angle | 3° |
| Power Linking | 12 Units at 120 V 23 Units at 230 V |
| Input Voltage | 100 to 240 VAC, 50/60 Hz (auto-ranging) |
| Power | 41 W, 0.7 A at 120 V, 60 Hz 44 W, 0.4 A at 230 V, 50 Hz |
| Approvals | CE, FDA |
| Dimensions | 23.8 x 7.2 x 10.5" / 604.5 x 182.9 x 266.7 mm |
| Weight | 8.8 lb / 4.0 kg |

Follow-Spot-Stage-Light-FS-2500A-

Specifications:

| Voltage | AC110V/220-240V, 50/60Hz |
| --- | --- |
| Fuse | 20A |
| Power consumption | 2800W |
| Lamp | HMI 2500W |
| Color Wheel | 4 colors + open |
| Beam Angle | 15° |
| Beam Distance | 200Meters |
| Functions | Strobe(1-10times/s), Iris etc |

Inno Spot PRO-

Specifications:

| Light Source | 80W LED |
| --- | --- |
| Bulb Life | Approximately 50,000 hours |
| Colors | 8x + white |
| Gobos | 6x rotating + spot |
| Gobo Size | 24 mm (20 mm viewable / 0.2 mm thickness for 4 metal gobo, 1.1 mm thickness for 2 glass gobo) |
| Zoom | 12 to 17° |
| DMX Channels | 14 |
| Operation Modes | DMX-512, sound active, show mode (4 built-in) |
| Pan & Tilt | 540° / 270° tilt (16-bit) |
| Dimming | 0 to 100% |
| Daisy Chain Capability | DMX Linkable via 3-Pin XLR Cable Power cable up to 4 units at 120 VAC Power cable up to 8 units at 220 VAC |
| Compatibility | ADJ UC3 series easy-to-use controllers (sold separately) |
| Power Consumption | 140 W at 110 VAC 134 W at 220 VAC |
| Power Requirements | 100 to 240 VAC at 50/60 Hz |
| Dimensions (L x W x H) | 11.5 x 6.75 x 16.75" (288 x 167 x 425 mm) |
| Weight | 19 lb (8.5 kg) |

Martin MAC Aura XB LED Moving Wash Light with Flight Case

Specifications:

| LENGTH (ACROSS YOKE) | 302mm (11.9 in.) |
| --- | --- |
| WIDTH (ACROSS YOKE) | 302mm (11.9 in.) |
| HEIGHT (HEAD STRAIGHT UP) | 360mm (14.2 in.) |
| WEIGHT (WITHOUT ACCESSORIES) | 6.5 kg (14.4 lbs.) |
| BEAM COLOR MIXING | RGBW |
| AURA (SECONDARY LENS ARRAY ILLUMINATION) COLOR MIXING: | RGB |
| BEAM COLOR TEMPERATURE CONTROL | CTO variable 10 000 - 2500 K |
| BEAM AND AURA ELECTRONIC 'COLOR WHEEL' EFFECT: | 33 LEE-referenced colors plus white, variable-speed color-wheel rotation effect and random color |
| BEAM AND AURA INDEPENDENT SHUTTER EFFECTS: | Electronic, with regular and random pulse, burst and strobe effects |
| WIDTH (ACROSS YOKE) | 302mm (11.9 in.) |
| HEIGHT (HEAD STRAIGHT UP) | 360mm (14.2 in.) |
| WEIGHT (WITHOUT ACCESSORIES) | 6.5 kg (14.4 lbs.) |
| BEAM COLOR MIXING: | RGBW |
| AURA (SECONDARY LENS ARRAY ILLUMINATION) COLOR MIXING | RGB |
| BEAM COLOR TEMPERATURE CONTROL | CTO variable 10 000 - 2500 K |
| BEAM AND AURA ELECTRONIC 'COLOR WHEEL' EFFECT | 33 LEE-referenced colors plus white, variable-speed color-wheel rotation effect and random color |
| BEAM AND AURA INDEPENDENT SHUTTER EFFECTS | Electronic, with regular and random pulse, burst and strobe effects |
| PRE-PROGRAMMED EFFECTS | Range of independent and synchronized Beam and Aura FX, two combinable |
| ELECTRONIC DIMMING | Independent beam and aura, four dimming curve options |
| ZOOM | 10° - 60° (one-tenth peak angle) |
| PAN | 540° |
| TILT | 232° |
| PAN AND TILT SPEED | Adjustable via onboard control panel and DMX |
| CONTROL OPTIONS | Independent or synchronized Beam and Aura control |
| CONTROL SYSTEM | DMX, RDM |
| CONTROL RESOLUTION | 8-bit with 16-bit control of pan & tilt |
| DMX CHANNELS | 14/25 |
| SETTING AND ADDRESSING | Control panel with backlit graphic display |
| DMX COMPLIANCE | USITT DMX512-A |
| RDM COMPLIANCE | ANSI/ESTA E1.20 |
| TRANSCEIVER | RS-485 |
| FIRMWARE UPDATE | Via DMX with Martin USB Duo DMX Interface Box |
| LIGHT SOURCE | 19x 15W RGBW LED Array System |
| LED REFRESH RATE | Beam 1200 Hz, Aura 4395 Hz |
| MINIMUM LED LIFETIME | 50 000 hours (to >70% luminous output)* |
| TOTAL LUMINOUS OUTPUT (WIDE, ONE-TENTH PEAK) | 6000 lumens |
| TOTAL LUMINOUS OUTPUT (NARROW, ONE-TENTH PEAK) | 4300 lumens |
| VIDEO COMPATIBILITY | Designed for use with HD/high-speed video cameras |
| MOUNTING POINTS | M12 hole for rigging clamp, attachment points for surface-mounting bracket |
| ORIENTATION | Any |
| MINIMUM DISTANCE TO COMBUSTIBLE MATERIALS | 200 mm (8 in.) from fixture |
| MINIMUM DISTANCE TO ILLUMINATED SURFACES | 1 m (3 ft. 4 in.) from fixture |
| LOCATION | Indoor use only, must be fastened to surface or structure |
| AC POWER | Neutrik PowerCON TRUE1 NAC3PX dual socket |
| AC POWERINPUT SOCKET | Accepts Neutrik PowerCON TRUE1 NAC3FX-W cable connector |
| AC POWER THRU SOCKET | Accepts Neutrik PowerCON TRUE1 NAC3MX-W cable connector |
| DMX DATA IN/OUT | 5-pin locking XLR |
| MAXIMUM POWERCONSUMPTION | 400 W |
| POWER SUPPLY UNIT | Auto-ranging electronic switch mode |
| AC POWER | 100-240 V nominal, 50/60 Hz |
| YPICAL HALF-CYCLE RMS INRUSH CURRENT | 10.7 A |
| POWER CONSUMPTION, ALL EFFECTS STATIC, ZERO LIGHT OUTPUT | <25 W |
| TYPICAL POWER AND CURRENT | 100 V, 60 HZ: 359 W, 3.8 A, PF 0.99 120 V, 60 HZ: 355 W, 3.2 A, PF 0.99 208 V, 60 HZ: 350 W, 1.8 A, PF 0.97 230 V, 50 HZ: 349 W, 1.7 A, PF 0.95 240 V, 50 HZ: 349 W, 1.6 A, PF 0.95 Measurements made at nominal voltage with all LEDs at full intensity. Allow for a deviation of +/- 10%. |
| COOLING | Forced air (temperature-regulated, low noise, user-definable levels) |
| MAXIMUM AMBIENT TEMPERATURE (TA MAX.) | 40° C (104° F) |
| MINIMUM AMBIENT TEMPERATURE (TA MIN.) | 5° C (41° F) |
| TOTAL HEAT DISSIPATION (CALCULATED, +/- 10%) | 1230 BTU/hr. |

Martin MAC Quantum Profile LED Moving Spotlight with Flight Case

Specifications:

- LENGTH: 452 mm (17.8 in.) - WIDTH (ACROSS YOKE): 431 mm (17.0 in.) - HEIGHT (HEAD STRAIGHT UP): 642 mm (25.3 in.) - HEIGHT (MAXIMUM): 648 mm (25.5 in.) - WEIGHT: 23.2 kg (51.1 lbs.) - COLOR MIXING: CMY, independently variable 0 - 100% - COLOR WHEEL: 6 color filters plus open - ROTATING GOBO WHEEL: 6 interchangeable gobos plus open, wheel rotation, gobo rotation, indexing and shake - STATIC GOBO WHEEL: 10 gobos plus open, wheel indexing, rotation and shake - BEAM EFFECTS: Rotating three-facet prism - ZOOM: Motorized - FOCUS: Motorized, with zoom-focus tracking - IRIS: 0 - 100%, pulse effects - SHUTTER EFFECT: Electronic, with variable speed regular and random strobe - ELECTRONIC DIMMING: Four dimming curve options - PAN: 540° - TILT: 268° - PAN AND TILT SPEED: Adjustable via onboard control panel and DMX - CONTROL SYSTEM: DMX - RDM: Implemented - CONTROL RESOLUTION: 8-bit, with 16-bit control of dimming, gobo indexing, zoom, focus, pan and tilt - DMX CHANNELS: 19/27 - SETTING AND ADDRESSING: Control panel with backlit graphic display - DMX COMPLIANCE: USITT DMX512-A - RDM COMPLIANCE: ANSI/ESTA E1.20 - TRANSCEIVER: RS-485 - FIXTURE SOFTWARE UPDATE: Direct using USB memory stick or via DMX link using Martin USB Duo DMX Interface Box - LIGHT SOURCE: 475 W LED engine - LED REFRESH RATE: 3000 Hz - MINIMUM LED LIFETIME: 50 000 hours (to >70% luminous output)* - ZOOM RANGE: 12° - 36° (1:3) - OUTPUT: 12 700 lumens - *Figure obtained under manufacturer's test conditions - MOUNTING POINTS: 4 pairs of quarter-turn locks - LOCATION: Indoor use only, must be fastened to surface or structure - ORIENTATION: Any - MINIMUM DISTANCE TO COMBUSTIBLE MATERIALS: 0.2 m - MINIMUM DISTANCE TO ILLUMINATED SURFACES: 2.0 m - AC POWER INPUT: Neutrik PowerCon - DMX AND RDM DATA IN/OUT: 5-pin locking XLR - AC POWER: 120-240 V nominal, 50/60 Hz - POWER SUPPLY UNIT: Auto-ranging electronic switch mode - MAXIMUM TOTAL POWER CONSUMPTION: 750 W - TYPICAL HALF-CYCLE RMS INRUSH CURRENT: 10.3 A - TYPICAL POWER CONSUMPTION, ALL EFFECTS STATIC, ZERO LIGHT OUTPUT: Approx. 50 W - MAXIMUM TOTAL POWER CONSUMPTION: 750 W - TYPICAL HALF-CYCLE RMS INRUSH CURRENT: 10.3 A - TYPICAL POWER AND CURRENT - 120 V, 60 HZ: 4.8 A, 576 W, PF 0.999 - 208 V, 60 HZ: 2.8 A, 568 W, PF 0.991 - 230 V, 50 HZ: 2.5 A, 565 W, PF 0.988 - 240 V, 50 HZ: 2.4 A, 565 W, PF 0.988 - Measurements made at nominal voltage with all LEDs at full intensity. Allow for a deviation of +/- 10%. - COOLING: Forced air (temperature-regulated, low noise, user-definable levels) - MAXIMUM AMBIENT TEMPERATURE (TA MAX.): 40° C - MINIMUM AMBIENT TEMPERATURE (TA MIN.): 5° C - TOTAL HEAT DISSIPATION (CALCULATED, +/- 10%): 2000 BTU/hr.

# Sound Active Mini Red-Green Moving Party Stage Laser Light Projector with tripod laser DJ party disco light

Specifications:

Dynamic star sky Color: Red, Green Fully adjustable motion speed Wavelength/power: 532nm / 50mw (Green), 650nm / 100mw(Red) Class: III A Music Active mode (Voice Control) & Auto-mode Primary Function: Mini Effects Projector with Sound Activation and Stroboflash Power: AC power supply input 110V-240V / 50-60Hz, output 5.0V / 1.0A Cooling system: Fan forced cooling system power Music & Auto Button: Music Active ( Voice control ) & Auto Model Strobe flash Button: Turn the strobe flash on or off On / Off Button: Turn the power on / off The body's material: Aluminum Alloy Certification: CE, FCC, RoHS Dimension: about 130x92x52 mm

American DJ Starburst 6-Color LED Sphere Effect - DMX (RGBWA+UV)

Specifications:

| Light Source | 5x 15W HEX RGBWA+UV (6-in-1) LEDs (red, green, blue, white, amber, and UV) Lamp Life: 50,000 hours |
| --- | --- |
| Beam Angle | Beam Angle: 1° |
| Voltage | 100 to 240 VAC, 50/60 Hz (IEC input only) |
| Power Consumption | 55 W |
| Dimensions (L x W x H) | 12.5 x 12.5 x 16.3" / 31.8 x 31.8 x 41.3 cm |
| Weight | 8.0 lb / 3.6 kg |